PacBio Sequencing Protocol

Summary

Each of the two codon parent libraries (C1P and C2P) was PCR amplified using the primers shown in Table 1 (below) using Q5 DNA polymerase, 10 ng of template (miniprepped plasmid), in a 50uL reaction for 14-15 cycles. The two libraries were mixed into a single 40 µL sample containing 35 ng/µL of library mixture and submitted for sequencing on a PacBio Sequel II instrument (UOregon GC3F core) producing 2.17 million raw CCS reads.

Table 1 - PCR primers for PacBio sequencing. Underlined sequence is homology for priming.

| Lib. | Primer Name | Primer Sequence |
| --- | --- | --- |
| C1P | Ox_01_for | AAGAAAGTTGTCGGTGTCTTTGTGTGTGAGCGGATAACAATTTCACACAGGAAACAGCTCATATG |
|  | Ox_01_rev | CACAAAGACACCGACAACTTTCTTcgaaaagtgccacctgACGTCgtgc |
| C2P | Ox_02_for | TCGATTCCGTTTGTAGTCGTCTGTTGTGAGCGGATAACAATTTCACACAGGAAACAGCTCATATG |
|  | Ox_02_rev | ACAGACGACTACAAACGGAATCGAcgaaaagtgccacctgACGTCgtgc |

Detailed Protocol

This protocol describes the amplification and preparation of two codon-variant fluorescent protein libraries (C1P and C2P) for PacBio sequencing and downstream analysis.

Materials

- Template DNA: Miniprepped plasmid containing C1P or C2P library (10 ng per PCR)

- Primers (see Table 1)

- Q5 DNA Polymerase (NEB)

- PCR reagents (Q5 buffer, dNTPs, nuclease-free water)

- SYBRfast qPCR mix (for cycle determination)

PCR Amplification

Prepare PCR reactions (50 µL total volume each):

- 10 ng template miniprepped DNA (C1P or C2P plasmid)

- 0.5 µM forward primer

- 0.5 µM reverse primer

- Q5 polymerase and buffer according to manufacturer’s protocol

- dNTPs and nuclease-free water to 50 µL

Cycling conditions:

- Initial denaturation: 98 °C, 30 sec

- Repeat for X cycles

C1P: 14 cycles (determined via SYBRfast qPCR)

C2P: 15 cycles (determined via SYBRfast qPCR)

  - Denaturation: 98 °C, 10 sec

  - Annealing: 60 °C, 15 sec

  - Extension: 72 °C, 30 sec

- Final extension: 72 °C, 2 min

- Hold at 4 °C

Clean PCR reactions with column or SPRI beads. Quantify with Qubit fluorometer. Combine two libraries at equimolar ratio and submit for NGS (log-read) sequencing.

Our full NGS data analysis pipeline is available here:
https://github.com/PlesaLab/Fluorescent_Protein_NGS_pipeline