Comments for the NF1 mini-genes

1. No special condition is required for propagating the NF1 mini-genes, regardless of the vector copy number. However, the NF1 mini-genes still show a weak growth-inhibitory effect on E. coli. If the plasmid yield is not ideal, we recommend using Terrific Broth (TB) medium, or increasing the culture volume to 1.5–2× to obtain more bacteria with LB medium.

2. The NF1 type 1 and 2 mini-genes can be distinguished by EcoRI digestion. Note that a nucleic acid species with the size of ~500 bp is often co-purified from TB culture.

3. If XmaI is used for subcloning:

We noticed that the ligation products of XmaI-digested ends frequently miss a single “C”. In case that an adjacent “C” can compensate the missing “C” to restore the SmaI/XmaI site and there is a potential frame-shift problem, it is necessary to further verify the re-ligated SmaI/XmaI site by DNA sequencing.

4. When releasing the NF1 mini-genes from the pAMP vector for subcloning, we suggest including ApaLI to eliminate the background from the incompletely digested parental vectors.

5. If TB culture is directly used as DNA template for colony-PCR, the PCR may not work.

6. We have noticed that NF1 expression driven by the EFS promoter (by transient transfection) is good in 293T, but is very weak in 293 (no SV40 large T antigen). Thus, for cells without SV40 large T antigen, a strong promoter may be required to achieve desired expression level.